**Dr. Y. S. R. HORTICULTURAL UNIVERSITY**

**VENKATARAMANNAGUDEM – 534 101**

**BID DOCUMENT**

**FOR**

**SUPPLY AND INSTALLATION OF EQUIPMENT**



**Dr. Y S R HORTICULTURAL UNIVERSITY**

**HORTICULTURAL RESEARCH STATION- MADANAPALLI -517326**

**ANNAMAYYA DISTRICT, ANDHRA PRADESH**

**Dr. Y S R HORTICULTURAL UNIVERSITY**

**HORTICULTURAL RESEARCH STATION- BAYYAPPAGARIPALLE, MADANAPALLI -517326**

**ANNAMAYYA DISTRICT, ANDHRA PRADESH**

Tender Notice No : NIT. No:1/ Dr YSRHU/HRS-MPL / 2025-26

Date of Commencement of : 30.08.2025 AT 04.00 PM

DOWN LOADING OF THE

BID DOCUMENT

Last date for receipt of bids. : 10.09.2025 AT 04.00 PM

TIME AND DATE OF

Presentation of Detailed Project Report: 11.09.2025 AT 10.00 AM

and opening of Technical and Price bid at

Dr Y S R HORTICULTURAL UNIVERSITY

**HORTICULTURAL RESEARCH STATION-**

**BAYYAPPAGARIPALLE, MADANAPALLI -517326**

**ANNAMAYYA DISTRICT, ANDHRA PRADESH**

ADDRESS FOR COMMUNICATION:

**THE SENIOR SCIENTIST (AGRO.) & HEAD**

**HORTICULTURAL RESEARCH STATION-**

**BAYYAPPAGARIPALLE,MADANAPALLI -517326**

**ANNAMAYYA DISTRICT, ANDHRA PRADESH**

Mobile No: 7799055855

email: hrs-mpl@drysrhu.edu.in

The tender document containing terms and conditions for the execution of this project, along with specifications and EMD to be paid, are appended.

**Invitation for Bids**

* 1. The location of the site is at Horticultural Research Station, Bayyappagaripalle, Madanapalli, Annamayya District
  2. Bids are invited from nationally/internationally reputed manufacturers/their authorized representatives only, for the equipment listed below. The authorized representative must attach an authorization letter from the manufacturers along with the tender, without which the tender will be rejected (for further reference, please refer to point 16 in Annexure I (Part-I).
  3. The required land, buildings, water and power connection will be provided by the University and the bidder has to supply equipment and carry out installation as per the approved tender schedule. Successful trial run and maintaining the equipment supplied for 12 months including all maintenance and duly rectifying all defects during the above period, at the cost of bidder. For some of the equipment where a guarantee period was mentioned specifically for two years will be mandatory.
  4. The bidders are also required to furnish their previous experience certificate for the supply of similar equipment.
  5. The supply of equipment must be carried out as per the standard specifications under the supervision of concerned authorities of HRS, Bayyappagaripalle, Madanapalli has to be got certified by him, duly handing over all warranty certificates for the said equipment.
     + 1. All bidders must quote equipment wise; otherwise bid will be summarily rejected.

1. All local taxes to be paid to the government shall be included in the price quoted as F.O.R. destination.
2. Custom duty exemption certificate will be issued in case necessary.

VI) The bids should be submitted with in time specified at the office of Senior Scientist (Agro.) & Head, Horticulture Research Station, Bayyappagaripalle, Madanapalli along with **EMD** as specified here under against each item.

|  |  |  |
| --- | --- | --- |
| **S.No Sl. No** | **Equipment** | **EMD Amount to be paid (in Rupees)** |
| 1 | Microscope with camera attachment | 10,000 |
| 2 | Laminar Bench (Vertical) | 5,000 |
| 3 | Autoclave (fully automatic) | 5,000 |
| 4 | BOD Incubator | 5,000 |
| 5 | **Air conditions and Refrigirator** | 5,000 |
| 6 | Weather station | 5,000 |
| 7 | PH meter, Magnetic stirrer and balance | 5,000 |
| 8 | Photocopier with printing and scanning | 2,000 |
| 9 | Digital/ RT-PCR | 20,000/- |
| 10 | Refrigerated centrifuge | Rs.10,000/- |

Bidders must pay the EMD amount specified as above against each of the item in the form of crossed D.D. drawn **in favor of** **The Comptroller, Dr YSRHU, Venkataramannagudem**, Tadepalligudem payable at Andhra Bank/ any nationalized bank, Tadepalligudem and processing fee of **Rs.1,000/- (Rupees One thousand only**) through DD **in favor of** **The Comptroller, Dr YSRHU, Venkataramannagudem**, Tadepalligudem payable at Andhra Bank/ any nationalized bank, Tadepalligudem. The processing fee is non-refundable and tender documents without EMD or Processing fee will be rejected.

VII) Specifications given are indicative and the tender is to give a detailed description and specifications for equipment. The same would be given weightage in finalizing the tender.

VIII) The equipment to be supplied by the tenderers should be branded and meet the quality standard as per the existing norms. Period of warranty shall be **3 year** from the date of supply as demanded in the tender.

IX) The bids invited on two-part basis, the Bidder shall seal the technical bid and the priced bid in two separate envelops duly marked as “Technical bid” and “price bid”. Both the envelopes shall then be sealed in one outer envelope.

All bids must be accompanied by a bid security/Earnest Money Deposit as specified in the tender details and must be delivered to the above office at the date and time indicated above. Bids will be opened in the presence of Bidders' authorized representatives who choose to attend on the specified date and time. In the event of the date specified for bid receipt and opening being declared as a closed holiday for purchaser’s office, the due date for submission of bids and opening of bids will be the following working day at the appointed time.

X) YSR Horticultural University reserves the right to accept any or all tenders either in part or in full or to split the order without assigning any reasons therefore.

XI) The specifications and other conditions prescribed in Annexure – III of this tender shall also be treated as part of these tender documents for all purposes.

**TERMS OF PAYMENT:**

|  |  |
| --- | --- |
| Upon supply equipment and after successfully trial run of the unit and training | 100% of the project cost. |

XII) At the time of awarding the contract the University reserves the right to insist Performance guarantee   security for a warranty period of one year at the rate of 10% by way of Bank guarantee on the total order value, and the same will be released after warranty/agreement period of one year expires and in case the performance is bad or the equipment is not working to the satisfactory level, the company will forfeit the performance guarantee deposit.

XIII) This Invitation for Bids is open to all suppliers.

Bidders who have been blacklisted / suspended by the purchaser or sister concerns are ineligible to quote. The quotes of such firms shall be summarily rejected.

Prices shall be quoted in Indian Rupees for all offers as FOR –DESTINATION BASED and in case of offers received for supply from foreign countries may comply the offers to a convertible to Indian currency and customs duty as applicable to each item be given separately for parity during evaluation

**ELIGIBILITY CRITERIA**

1. The preference would be given to manufacturer with experience of having supply of similar equipment’s in reputed Agricultural Universities / State Department of Horticulture / ICAR institutes/private organizations.
2. Certificate from the project client for award of contract and supply of equipment in original or its notarized copy for equipment claimed to be submitted.
3. The company bidding should be in the industry for at least 5 years in the same field. Tenderers should have authorized dealer certificate/manufacturing (Please attach certificate).
4. Tenderers should have total turnover of at least Rs.1crore or above for supply of similar equipment’s. Audited financial statements duly certified by chartered accountant for the last three financial years ending March, 31st, 2025 should be submitted.
5. The buyer reserves the right to evaluate the tender on Technical Presentation/ capabilities and is not bound to accept lowest tender / quotations.

**Evaluation of Bid:**

1. The Technical Bid documents will be opened first and evaluated by the Tender Committee. Financial Bid Documents of only those bidders will be opened who have qualified in Technical Bid.
2. The Competent Authority reserves the right to accept or reject any tender without any reason thereof.
3. Prices to be quoted on FOR basis including all taxes including GST/freight/ installation/commissioning/trial/training charges etc. in Indian rupees.
4. It is necessary to submit all the relevant documents like Pan Card, ISO Certification, GST/Sales Tax Registration, Authorized dealer of a reputed company, Certificate of Incorporation / Partnership Deed.
5. Tenderer should submit the copies of Purchase Orders in support of their genuineness in supplying of equipment’s in reputed Universities / Colleges / Departments / Institutes/private organizations. The tenderer should submit users list for the last 5 years.

**DISQUALIFICATION:**

The EOI may, at its own sole discretion, at any time during the EOI process, disqualify any Interested party from the EOI process if:

1. the response to the tender is submitted after the dead line for submission.
2. the Interested Entity has made misleading or false representation in the forms, statements, attachments submitted in proof of eligibility.
3. the tender is not accompanied by required documentation.
4. the Interested Entity failed to provide clarifications related thereto, when sought.

**The Dr YSRHU reserves the right to verify the claims made by the Bidder and to carry out the capacity assessment of the bidder and the Dr YSRHU decision shall be final in this regard.**

**ANNEXURE – I (PART I)**

**TECHNICAL BID: filling up of Proforma**

The technical bid shall accompany with the enclosures for components as per proforma prescribed and is attached with the document along with the details as under:

|  |  |  |
| --- | --- | --- |
| S. No. | Intervention/Component | Annexure  (With page nos.) |
| 1 | Company Profile |  |
| 2 | Past Experience of manufacturer with certificates/ work order/ completion etc. |  |
| 3 | No. of years of experience in this field |  |
| 4 | Past experience in supply of equipment |  |
| 5 | Experience of Engineers/ technician and the capacity for service with service center |  |
| 6 | Financial Strength of the Firm |  |
| 7 | Office details |  |
| 8 | GST, CST registration |  |
| 9 | Any others as specified in the general bid document |  |

**General Terms & Conditions:**

1. Technical quote/bid and price quote/bid should be submitted separately.
2. A compliance statement in detail for each technical parameter/component of each instrument, including warranty, etc., as given in each instrument, should be prepared by the vendor in the Technical Bid.
3. GST declaration and Declaration for moving material - FOR will be provided by Sr. Scientist (Agro.) & Head, Horticultural Research Station, Bayyappagaripalle, Madanapalli.
4. Each firm should submit separately technical specifications as at serial no.2 in one single envelope – technical quote. However, the price bids for equipment quoted with the offer should be submitted separately for equipment-wise.
5. Validity of quotations/tenders should be at least 3 months from the last date of receipt of quotations/tenders.
6. Product brochures should be enclosed for equipment.
7. Warranty: minimum of **3 years** for each instrument, from the date of installation.
8. Make and Model should be mentioned clearly.
9. Name of the customer/s with telephone, e-mail ID should be given, for each instrument, separately.
10. The service network team/persons with contact numbers, mailing address, e-mails, preferably in AP, should be given for each instrument separately.
11. If the instrument is imported, the supplier should take all responsibilities for clearing, duties, delivery etc.,
12. Installation should be at free of cost.
13. Training to be provided at free of cost.
14. All the supplies should be through authorized dealer/distributor in AP (Authorized dealer / distributor certificate should be enclosed along with quotations/tenders).
15. All quotations / tenders for each instrument should have compliance report as per the specifications mentioned point wise.
16. For all imported equipment’s, the supplier holds the responsibility for clearance, and delivery to the destination at Horticultural Research Station, Bayyappagaripalle, Madanapalli of Dr. YSRHU will issue customs exemption certificate as applicable and as available at the time of clearance.
17. The instruments should be delivered at Horticultural Research Station, Bayyappagaripalle, Madanapalli at free of cost or the price quoted should include the delivery charges, if any. No additional charges will be paid towards delivery and installation.
18. All instruments should be supplied along with hard copies of operating manual and soft copies in CD/DVD / flash drive/software’s, wherever required.
19. The quotations/tenders should be submitted in a sealed cover super scribing “**Quotation/ Tender (TECHNICAL BID / PRICE BID) for supply of\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (S.No: ) for HRS, Bayyappagaripalle, Madanapalli Andhra Pradesh**”.

**The Dr. Y.S.R.H.U reserves the right to verify the claims made by the Bidder and to carry out the capacity assessment of the bidder and Dr Y.S.R.H.U decision shall be final in this regard.**

**Annexure– I (Part–II)**

**“DECLARATIONOF THE BIDDER”**

1. That I/We am/are the authorized nominee (s) of the firm hereby submit tender to HRS, Bayyappagaripalle, Madanapalli, Annamayya Dist, Andhra Pradesh. The copy of the power of Attorney is attached here with.
2. I am to state that the information provided in the tender form is true and correct
3. I/We may be punished as per law for any wrong information, misleading facts provided in the tender form besides rejection of my/our tender.
4. In case of any dispute, the Jurisdiction will be as applicable to Dr YSRHU only.
5. I/We have carefully read all the general and specific terms and conditions of the tender and I solemnly declare that the same are acceptable to me/us and binding on me/us.

Place : Signature of Bidder :

Date :

Name of Bidder :

Capacity in which signed :

Full address of the Bidder : With seal & stamp :

(Attach Identity card Xerox)

Phone No. :

Mobile No. :

**Annexure–II**

**TECHNICAL SPECIFICATIONS**

**List of Equipment**

|  |  |  |  |
| --- | --- | --- | --- |
| **S. No.** | **Name of Equipment** | **Technical Specifications** | **Qty.** |
| **1** | **Microscope with camera attachment** | Dark field, bright field, differential interference contrast (DIC), phase contrast, research microscope. Fluorescence (option)  Observation Tubes: Widefield (FN 20), Trinocular  Mechanical stage, Revolving Nosepiece Coded (7 positions), Transmitted Köhler Illuminator, infinite plan achromat objectives  Eye piece: a pair of 10X WH10x eyepieces  a pair of 15X WH10x eyepieces (optional)  Objective: Plan Achromat (fluorescent ready) 4X NA 0.1 W.D. 27.8 mm 10X NA 0.25 W.D. 8.0 mm 20X NA 0.4 W.D. 2.5 mm  40X NA 0.65 W.D. 0.6 mm 100XOil NA 1.25 W.D. 0.13 mm  8-position, universal condenser enables brightfield, phase contrast, darkfield, Fluorescence, polarized light, and DIC observations  **Camera**: 5 to 12 MP coms/ccd camera suitable for microscope. It should meet the needs of fluorescent, Bright field, Dark field and Polarized observations along with advanced analysis software.  **Software**: advanced Imaging Software**.**  **Warranty**: Vendor should provide at least 2 year warranty and hands-on training after instrument installation.  1 KVA Online UPS | **1** |
| **2** | Laminar Bench  (Vertical) | * Size: **4x2x2** * Vertical laminar Airflow system allows operation in sterile and particle free conditions because the continuous flushing of the working area by a Unidirectional and horizontal and ultra-filtered airflow, it assures a full product protection. * Cleanliness: ISO Class 5 /AS US-FED CLASS- 100/as per ISO 14644-1 * Particle Retention: 0.3 Micron & above * Noise level: <65 * Velocity: 90 feet / minute ± 20 * Pressure Differential: range 0-25mm manometer * Front door: by 4 mm thick polycarbonate * Work table: by IS 304 Grade Stainless steel surface * U V Lamp: 3, feet, 30 watts, PHILIPS * Illumination: LED * Other accessories: 5 amps power point, gas inlet * Power supply: 230V, single phase, 50Hz * Hepa filter: Media Ultra clean glass fiber paper-Imported Type Mini- pleated constructions * Retention 0.3 micron * Efficiency 99.97% * Pressure drop 12 mm WG * PRE Filter: Media Non woven – synthetic polyester * Retention 10 micron * Efficiency 90% * Pressure drop 6 mm * WG Standard Accessories: 1 No – 5/15A Additional power point, Gas inlet Nozzle, floor leveling screws, wirechord. * MATERIAL OF CONSTRUCTIONS: G I SHEET POWDER COATED |  |
| **3** | Autoclave  (fully automatic) | **Autoclave** (fully automatic) Volume: 75-90 liters   * µProcessor based Controller with time and temperature programmable by user. * LCD display, displays all information including process and set values at a glance, eliminating guesswork. * Pt100 sensor, enabling precise monitoring. * Low water level alarm and cut off.   **Autoclave:** Volume: 30-40 Ltrs  With Unique single lever locking mechanism, Standalone operations - eliminates plumbing/drain requirements, Compact footprint enables the Autoclave to be placed in constrained benchtop spaces, User independent - fully automatic operation, Advanced PLC for superior process control and easy monitoring of all process parameters,  Optional: vacuum system for superior air removal and post sterilization drying, air ballast function etc |  |
| **4** | BOD Incubator | **BOD Incubator**   * Internal Chamber: 8.5-12 cft) * Capacity : 250 -350 Liters   **Technical Specifications:**   * Required for tests of Biological Oxygen Demand / equipped for controlled incubation and storage of sensitive samples / cultures, etc . * Temperature Range: 10 °C to 50.0 °C. * Temperature Accuracy: +/- 0.5°C. * Temperature Uniformity: +/- 1.0°C. * Temperature Display: Digital LED 3 ½ digit, Resolution 0.1oC * Humidity range : 25% to 95% RH, Accuracy +/- 3% * RH , Uniformity: +/- 3% RH * Humidity Display : Digital LED Display * Heating system : U shaped Nichrome wire heater in SS heating. * Cooling system: Hermetically sealed CFC free emission compressor with R 134a refrigerant, Mechanical convection system. * Air circulation: Motor with Impeller and blower. * Interior Illumination for working Area.   **CONSTRUCTION :-**   * Double walled, gap between walls filled with PUF Insulation. * Stainless steel Mirror polished chamber and heavy guage Powder- coated CRC exterior. * Stainless steel Trays. Adjustable Tray Height adjustment. * Unit Mounted on castor wheels with front lock arrangement.   **CONTROL PANEL :-**   * Microprocessor based PID temp. controller with auto tune facility for precise control of temperature., * Temp. Sensor: PT- 100 .   **SAFETY FEATURES :-**   * Over heat temperature with alarm. * Electrical overload compressor cut-off and Electrical short circuit breaker. | **1** |
| **5** | **Air conditions and Refrigirator** | **Air conditions**  1.6 Ton 5 Star HEXA Inverter Smart Split AC (5460W, Copper, Heavy Duty, Wi-Fi, 4 Way Swing, Frost Self Clean, HD Filter, Cools at 60°C, 20 Mtrs Air Throw  **Refrigirator**  Capacity: 655L, 3 Star, Side-by-Side Refrigerator with Smart Inverter Compressor, Smart Diagnosis and Easy Ice Maker (Door Mounted) 10years compressor warranty | **2No**  **1No** |
| **6** | Weather station | **Measurements:** Temperature, Relative humidity, Rain fall and Evaporation,  **Optional:** wind speed and direction and Sunrise/sunset times  Wireless transmission up to 1000 feet (305 meters)  weather updates every 2.5 seconds  Rain Rate: :Every 20 seconds  Resolution: 0.01" or 0.2 mm  Temp accuracy: ±1° F (±0.5° C)  Temp range: -40° to 150° (-40° to 65° C)  RH range: 0 to 100% RH  RH accuracy: ±3% (0 to 90% RH) ±4% (90 to 100% RH)  Wind speed range: 2 to 180 mph, 2 to 156 knots, 1 to 80 m/s and 3 to 290 km/h  Software and Datalogger with PC Interface   1 year warranty.,  Tripod Stand,  Power supply: 12V   IP65 Grade enclosure   Accessories : Cable ,Manual ,Installation Video ,Screw ,Nuts  and Allen Key, Calibration Certificate  **Installation on turn key basis** |  |
| **7** | PH meter, Magnetic stirrer and balance | **PH meter:**   |  |  | | --- | --- | | Parameters | pH, mV, Temperature (optional ) | | pH Range | -2.00 to 14.00 pH | | pH Resolution | 0.01 / 0.1 pH | | pH Accuracy | ±0.01 pH | | mV Range | -2000 to 2000 mV | | Temperature Range | -5 to 105 °C | | Temperature Accuracy | ±0.3 °C | | Calibration | Up to 5 points, with 4 predefined buffer groups | | Memory | 200 measurements, last calibration data | | Data Output | RS232, USB | | Electrode | Glass, 3-in-1, Refillable, NTC 30 kΩ) | | Power | Universal Power Adapter |   Applications:   * Academic and research laboratories * Quality control in the food and beverage industry * Water and environmental analysis * Routine measurement of biological buffers and aqueous solutions   **Magnetic stirrer:**   * Magnetic Stirrer with Accurate Temperature Control and Excellent Heating Capacity: Bionexis magnetic hotplate stirrer ‘s temperature display accuracy is ±0.1℃,max. 310°C. 50-1500rpm adjustable speed .Maximum stirring quantity can reach up to 5L at max speed 1500rpm * Over Temp. Protection : Our magnetic hotplate stirrer separate safety circuits . The inside or outside temperature probe detects the liquid or bench top temperature in real time to ensure that it does not exceed the temperature you set to ensure the safety of your experimental samples. * LCD display makes reading clear and intuitive,temperature and revolution.Advanced microprocessor controls allow quick, precise adjustment of time, temp. and stirring speed accurately. Equip with internal temp.sensor & PT1000 external temp probe sensor.Stainless steel with ceramic coated allows for immediate even heat transfer and fast cool-down. This hot plate with magnetic stirrer also with excellent corrosion resistance . * LED display shows temperature and speed. Forward and Reverse Stirring * Unique Multi-functional Clamps: The three holes stand clamp can hold acidity meter, a viscometer or a temperature probe at the same time. Our hotplate magnetic stirrer can meet various experimental requirements at same time. * When the temperature probe is attached, the display shows the liquid temperature. When the probe is not attached, it displays the hot plate temperature. * Three-hole probe clamp. Can hold temperature probe, PH Electrode, acidity meter, etc. * Rubber feet prevent “walking”.   **Balance:**   |  |  | | --- | --- | | Capacity | 320 g | | Pan Size | 80 mm (Diameter) | | Linearity | +/-0.3 mg | | Minimum Display | 0.1 mg | | Repeatability | Less Than or Equal 0.15 mg | | Operating Ambient Temperature | 5 to 40 deg C | | Temperature coefficient of sensitivity | +/-2 ppm/ deg C (When PSC is Off) | |  |
| **8** | Photocopier with printing and scanning | |  |  | | --- | --- | | Photocopier with printing and scanning | | | Speed | Up to 25 ppm | | Monthly Duty Cycle1 | Up to 107,000 pages | | Processor/Memory (Standard) | 1.05 GHz Dual core/2 GB Memory | | Hard Drive | 320 GB | | Connectivity | Ethernet 10/100/1000 Base-T, High-speed USB 3.0, Wi-Fi® and Wi-Fi Direct® with optional Wi-Fi Kit | | Controller Features | Unified Address Book, Configuration Cloning, Scan Preview, Xerox Extensible Interface Platform®, Xerox App Gallery, Xerox® Standard Accounting, Role Based Permissions, Convenience Authentication Enabled, Online Support | | **Copy and Print** | **Copy:** Up to 600 x 600 dpi; **Print:** Up to 1200 x 1200 dpi | | First-copy-out Time (as fast as) | As fast as 6.8 seconds | | First-print-out Time | As fast as 10.4 seconds | | Page Description Languages | PCL® 5e/PCL 6/PDF/XPS/TIFF/JPEG/HP-GL/optional Adobe® PostScript® 3™ | | **Paper Input** Standard  Optional | **Duplex Automatic Document Feeder (DADF):** 110 sheets: Standard sizes: 5.5 x 8.5 in. to 11 x 17 in./A5 to A3; Custom sizes (duplex): 4.92 x 4.33 in. to 11.69 x 17 in./125 x 110 mm to 297 x 431.8 mm; Custom sizes (simplex): 4.92 x 3.35 in. to 11.69 x 17 in./125 x 85 mm to 297 x 431.8 mm | | **Bypass Tray:** 100 sheets; Custom sizes: 3.5 x 3.87 in. to 11.69 x 17 in./88.9 x 98.4 mm to 297 x 431.8 mm | | **Tray 1:** 520 sheets; Custom sizes: 5.5 x 7.17 in. to 11.69 x 17 in./139.7 x 182 mm to 297 x 431.8 mm | | **Single Tray Module:** 520 sheets; Custom sizes: 5.5 x 7.17 in. to 11.69 x 17 in./139.7 x 182 mm to 297 x 431.8 mm  **Single Tray with Stand:** 520 sheets; Custom sizes: 5.5 x 7.17 in. to 11.69 x 17 in./139.7 x 182 mm to 297 x 431.8 mm  **Envelope Tray:** Up to 60 envelopes: #10 commercial, Monarch, DL, C5; Custom sizes: 3.9 x 5.8 in. to 6.4 x 9.5 in./98 x 148 mm to 162 x 241 mm  **High-Capacity Feeder (HCF):** 2,000 sheets; Standard sizes: 8.5 x 11 in. and 7.25 x 10.5 in./A4 or B5 | | **Paper Output/** Standard  **Finishing** Optional |  | | **Dual Catch Tray:** 250 sheets each; Lower tray offsets  **Integrated Office Finisher:** 500-sheet stacker, 50 sheets stapled, single-position stapling  **Office Finisher LX:** 2,000-sheet stacker, 50 sheets stapled, 3-position stapling, optional hole-punch, optional booklet maker (score, saddle stitch)  **Convenience Stapler with optional Work Surface:** Staples 50 sheets |   **One lakhs copies should provide free of cost**  **Optionally quote: 30 and 35 ppm machines** | **1No** |
| **9** | Digital/ RT-PCR | 1. Real-time PCR instrument with 6 channels (blue, green, yellow, orange, red, crimson), including laptop computer, software, accessories: includes 3-year warranty on parts and labour, installation and training. Any other special application softwares are available should provide along with system 2. Should support HRM and provide advanced HRM software  * A specially tuned high-intensity optical HRM channel * Thermal resolution of 0.02°C * Comprehensive HRM software  1. RT PCR System should have the Real-time amplification for measuring DNA/RNA from purified samples, application included Quantification assays, Qualitative assays, **SNP, HRM, Gene Expression**, Virtually any published protocol or chemistry can be reproduced. 2. Tube-to-tube variation ±0.02°C 3. Should provide uniform detection and should eliminate need of ROX reference dye. Autocalibrated system 4. All type of application viz **absolute quantitation**; simultaneous analysis data for **relative quantitation** of all wells, **multiplex-PCR**, Tm Calling, Endpoint Genotyping and **High Resolution Melting curve analysis** as well as pathogen detection and **plus/minus** assay. 5. Date export formats: Txt export, Charts: Data and image. 6. All kind of necessary reagents for installation should be supplied along with instruments. Further need to support 2000 reactions along with machine 7. Instrument should have minimum 3 year Warranty. 8. Compatible **1KVA Online UPS** with 1h backup should be provided 9. Should quote 16000-18000 rpm refrigerated centrifuge with three rotors (48X2ml, 24 x 2 ml, 6X30ml) compact and compatible for molecular work | **1** |
| **10** | Refrigerated centrifuge | **Refrigerated Centrifuge**   * **Compact centrifuge (should accommodate in narrow place)** with > 17,000 rpm * Temp range – 10OC to 40 OC * Machine should have “Fast temp program which allows programming of pre setting via date and time to have the centrifuge refrigerated and ready for use at the pre selected time and date” * Noise level <60dB * SOFT brake function * Automatic rotor imbalance detection * Machine should maintain 4 OC at max speed with all rotors * Should have condensation drain for avoiding corrosion * Provision for manual opening of lid   **Rotors:**   1. **Aerosol tight** high speed Fixed angel (45deg) rotor with: 48 x1.5/2ml 2. **Aerosol tight** high speed Fixed angel (45deg) rotor with: 24 x1.5/2ml   **Aerosol tight** high speed Fixed angel (45deg) rotor with: 6x15/50ml |  |

**Annexure– III**

**(General Conditions)**

### Submission of Tender and Deposit of earnest money

1. Quoted rate should be written legibly in ink or type written. No alterations should be made to any of the terms and conditions of the tenders by scoring out, altering or overwriting; similarly, no alterations are permitted in the rates quoted by them. No alterations will be allowed after this Office receives the tender. Ambiguity must be avoided in filling the tenders. However, any corrections etc., made will have to be duly attested with dated signatures and official seal. The tenders not complying with these conditions will be rejected summarily.
2. The tenders not conforming to the prescribed terms and conditions of the Horticultural University or conditional Tenders or Tenders which cannot adhere to the prescribed time schedule are liable for rejection.

#### Validity of rates and other Conditions

1. The defect liability period for the Equipments and erection of screen house shall be given for 12 months or more from the date of installation. In the event of any correction or defects or replacement of defective material done during this period, it should be corrected/ replaced at the cost of the bidder/ agency.
2. Bids shall remain valid for a period of 90 days from the date of opening of the bid prescribed. In exceptional circumstances, the University may solicit the bidder’s consent for an extension of the period of validity. The request and response shall be made in writing / cable / telex / fax / e-mail.
3. The validity of the tender will extend for a period of three months from the date of placing the initial order and it shall be open to the Dr.YSRHU to place the orders with the suppliers on the same rates, terms and conditions for any additional quantities likely to be recurred during that period.
4. The bidders shall submit the technical bid and price bid in separate covers and kept in a single cover.
5. The inner and outer envelops shall bear the following address:

The Senior Scientist (Agro.) & Head,

Dr YSR Horticultural University-Horticulture Research Station, Bayyappagaripalle,

Madanapalli -517326 (A.P)

1. The inner envelopes should also contain the name and address of the bidder.
2. Telex, cable, e-mail or facsimile bids will be rejected.
3. Bidding Documents must be received by the University at the address specified not later than the time and date specified in the invitation (Notification) for bids.
4. In the event of the date specified being declared as a holiday for the University, the bids will be received up to the appointed time on the next working day.
5. The Bidder’s representatives who are present shall sign in the register evidencing their attendance.
6. During evaluation of bids subsequent to opening, the University may at its discretion, to ask the bidder for clarification of its bid. The request for clarification and the response shall be in writing and no-change in the bid will be entertained.
7. The evaluation of the bid will take into account the past experience in addition to the bid price. Such a price should include all duties and taxes to be paid or payable on components of works.
8. The bidder may present power point presentation to the Committee on the following.
9. Equipment-related and their working performance
10. Operation and maintenance

**Acceptance of tenders**

1. Price bids will be opened after completion of power point presentation in the presence of such tenderers who are qualified in technical bid as may be present. A decision with regard to acceptance of tender will be taken as soon as possible.
2. The successful tenderer (s) will be intimated by letter (s) or other means of communication and the tenderer (s) so informed shall be bound from the time of transmission of such acceptance by the University. Formal acceptance of the tender (s) will be forwarded to successful tenderer (s) in due course but it will serve merely as a confirmation of the initial information and shall not affect the time from which the offer is/are is bound by the contract(s).
3. The University is not bound to accept the lowest tender. Any or all the quotations may be rejected without assigning any reasons. It reserves the right of acceptance in whole or part of the offer made. The decision of the Dr.YSR Horticultural University in the matter shall be final and binding on the tenderers.

**TENDER EVALUATION**

The evaluation and comparison of the bids shall be done for the technical as well as financial aspects. ]

**a) Technical Bid Evaluation:**

While power point presentation or the examination of the documents submitted by the tenderer, the committee shall have the right to verify the claims of experience made by the bidders. Based on the bid evaluation, only technically qualified bidders shall be short listed. After thorough evaluation of the technical bid by the committee, the financial bid of only technically qualified Bidders shall be opened in due course.

**b) Financial Bid Evaluation:**

The total cost of the project (landed cost) quoted by the bidder would be considered for financial bid evaluation.

**Committee:**

* 1. The committee shall do the above evaluation. The committee shall determine the approach and methodologies for the issues, which may arise during the above, referred evaluation process and their decision is final. The decision of the committee to reject or accept shall be final and binding on all the bidders.
  2. The successful bidder shall be responsible for the operation and maintenance of the equipment for a period of ONE YEAR from the date of installation. The bidder shall deploy at least one experienced person from time to time for advising any doubts regarding operation and maintenance besides troubleshooting whenever required.

#### Other contractual obligations

1. The contract shall not be deferred/ modified except by written consent by both Dr. YSRHU and the Bidder.
2. The Bidder shall not sublet or delegate this contract or part thereof without the written consent of the Horticultural University.
3. No undertaking or commitment given by or made by any officer of the University verbally or in writing does not have any validity unless it is signed again by the authority competent who concluded an agreement earlier.

#### Consequence of non-supply and damages

1. All risks of loss, damage or depreciation to the equipment/ material there off shall be upon the supplier until the material is delivered at the addresses specified and in accordance with the provision of the contract. Till the material is received at the respective destination indicated by the university, the property continues to be at the risk of the Bidder. The mere fact that the material is delivered to transporter is no defense to the Bidder and the Bidder will be squarely held responsible for any delayed receipt of the material by the University or for loss or damage of any kind to the material in transit.
2. Assuming that the bidder fails to deliver any or all the material covered by the contract, the Horticultural University reserves the right in addition to other legal remedies, to cancel the contract or any portion thereof and hold the Bidder liable for all damages sustained by the university by virtue of the Bidder failing to perform the contract and consequent cancellation of the contract.
3. The time allowed for delivery of goods shall be deemed to be the essence of the contract. The University also reserves the right to cancel the purchase order in case supplies are delayed beyond the scheduled date of delivery and to make such arrangements as it may think fit for the completion of supplies on account and at the risk of the suppliers (s). The additional expenses thus incurred together with the consequential losses and also the liquidated damages shall be recovered from the supplier out of his / their security deposit / earnest money deposit and any other amount due to him / them. The balance still, if any, payable by the supplier shall be paid by him/them within 7 days of notice by the Dr.Y.S.RHorticultural University

**FORFEITURE/REFUND OF THE EARNEST MONEY DEPOSIT(EMD)**

1. In case the selected Tenderer(s) does not supply the equipment at the quoted rates within the stipulated time and commits any breach of any one or more of these terms and conditions, the Earnest Money Deposit deposited by the Tenderers (s) will be forfeited.
2. Earnest Money of the unsuccessful Tenderer (s) shall be refunded within three months from the date of decision regarding the tenders. No interest is payable by the University on such deposit.
3. On due performance and satisfactory completion of the order in all respects during the contract periods, the Earnest Money Deposit (Security Deposit) will be refunded to the Bidder (s) without interest within a period of 3 months with effect from the date of receipt of a request to this effect from the Bidder.

#### SETTLEMENT OF DISPUTES

#### Any difference or dispute arising out of or in connection with this tender or acceptance thereof or the contract that may be entered in consequence thereof, shall be decided by arbitration. The Chairman of the committee for purchase of the equipment, Dr.Y.S.R Horticultural University or his nominee shall be the sole arbitrator and the arbitrator’s decision shall be final and binding on the parties. The Tenderer(s) will have no objection to such appointment on any ground whatsoever including that such nominee, in his official capacity dealt with this matter at any stage.

1. The parties hereby agree that in the event of any dispute no cause of action shall arise in their favor to approach any court unless they have restored to and exhausted the remedy of arbitration as envisaged above.
2. The parties also do hereby agree that the contract envisaged by these terms and conditions shall be deemed to have been entered into at Dr.Y.S.R.H.U, V R Gudem and the courts at Eluru, West Godavari District alone will have jurisdiction to try and legal proceedings which may arise out of this contract. Neither party shall file any proceedings in any other Court.

**TENDER FORM**

**(Should be included in Financial bid only)**

From: To

The Senior Scientist (Agro.) & Head,

Dr YSR Horticultural University-Horticulture Research Station, Bayyappagaripalle,

Madanapalli -517326 (A.P)

Ref: 1. Your tender Notice No: NIT NO.1/Dr. Y.S.R.H.U/2025-26 Dated...........

2. EMD – D.D. No. ...................Dated..........................for Rs............................

\*\*\*

I/We have read the contents of the terms and conditions mentioned in your tender schedule and its enclosures and agree to abide by the same.

I/We hereby offer to Supply and Installation of Equipment to Horticultural Research Station, Bayyappagaripalle, Madanapalli prescribed in the schedule (or such portion thereof as you may specify on the acceptance of tender) at the price given below.

I/We agree to hold this offer open for a period of 3 months from the date of acceptance of tender and shall be bound by communication of acceptance dispatched within a period of 15 days from the date of accepting the tender of the bidder.

I/We have also examined the requisite specifications of the material to be supplied and my / our offer is to supply the required material in accordance with the requisite specifications.

I/We have carefully considered all terms and conditions in Annexure I, IIand III and particulars regarding settlement of disputes and we have signed the same in token of consciously accepting the same and do hereby state that we accept them without any reservations and accordingly I/We quote the rates inclusive of all taxes, duties, transportation, insurance etc., as below.

Name of the item Unit Unit price

The articles will be ready for delivery within ..........................days from the date of receipt of supply orders.

Yours faithfully, Proprietor

(Signature and stamp of the Tenderers

State legal status, whether Prop. /

Partner / Registered firm / Company etc.)

Encl: Samples enclosed

EMD-DD No.......................................dated............................for Rs...........................

|  |
| --- |
| **Dr. YSR HORTICULTURAL UNIVERSITY**  **ADMINISTRATIVE OFFICE, VENKATARAMANNAGUDEM,**  WEST GODAVARI DISTRICT-534 101  E-mail: hrs-mpl@drysrhu.edu.in |

TENDER NOTICE

NIT No:1/Dr YSRHU/2025-26 **Dated: 30-08-2025**

Bids are invited from firms for the Supply and installationofequipment at the Horticultural Research Station, Bayyappagaripalle, Madanapalli. For details visit **www.drysrhu.edu.in.**

SENIOR SCIENTIST (AGRO.) &HEAD